{"text_format":"1","workbook":"xlsx","n_sheets":14,"sheets":["RUN","Readme","Time-Settings","MIP-Equations","Ext-Commodities","Ext-Import","Ext-Export","Demand-Rate-Factor","Process","Process-Commodity","Process-Class","Storage","Demand","SupIm"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"RUN","index":0,"n_rows":1,"n_cols":2,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["Solver","neos-mosek"]

{"sheet":"Readme","index":1,"n_rows":22,"n_cols":5,"rows_kept":22,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,null,"FICUS"]
[null,null,"A (mixed integer) linear optimisation model for local energy systems"]
[]
[]
[null,null,"Non-spatial data (this file):"]
[null,null,"- Time-Setting",null,"Timebase of time dependent Data and timesteps to be optimized"]
[null,null,"- MIP-Equations",null,"Activate/Deactivate specific equations"]
[null,null,"- Ext-Commodities",null,"Prices for demand charge plus input/output limits for commodities with \"external\" connection"]
[null,null,"- Ext-Import",null,"Import price of commodities for every timestep. (€/kWh)"]
[null,null,"- Ext-Export",null,"Export price of commodities for every timestep. (€/kWh)"]
[null,null,"- Demand-Rate-Factor",null,"factor for demand rate (for grid use) of commodity for every timestep"]
[null,null,"- Process",null,"commodity-converters: general parameters"]
[null,null,"- Process-Commodity",null,"mapping: input/output commodities to processes"]
[null,null,"- Process-Class",null,"Define rules/costs for chosen \"Process-Classes\""]
[null,null,"- Storage",null,"storage technologies"]
[null,null,"- Demand",null,"power demand for commodities for every timestep. (kW)"]
[null,null,"- SupIm",null,"Immediate and free supply of commodities per timestep, can be used for wind, pv. normalized (kW/kWp)"]
[]
[null,null,"MODEL","https://github.com/yabata/ficus"]
[null,null,"DOCS","https://ficus.readthedocs.org/en/latest/index.html "]

{"sheet":"Time-Settings","index":2,"n_rows":2,"n_cols":4,"rows_kept":2,"cut":false,"hidden":false,"merged":[]}
["Info","timebase","start","end"]
["Time",900,1,672]

{"sheet":"MIP-Equations","index":3,"n_rows":4,"n_cols":2,"rows_kept":4,"cut":false,"hidden":false,"merged":[]}
["Equations","Active"]
["Storage In-Out","no"]
["Partload","no"]
["Min-Cap","no"]

{"sheet":"Ext-Commodities","index":4,"n_rows":3,"n_cols":7,"rows_kept":3,"cut":false,"hidden":false,"merged":[]}
["Commodity","demand-rate","time-interval-demand-rate","p-max-initial","import-max","export-max","operating-hours-min"]
["elec",10,900,0,"inf","inf",0]
["gas",0,900,0,"inf",0,0]

{"sheet":"Ext-Import","index":5,"n_rows":673,"n_cols":3,"rows_kept":673,"cut":false,"hidden":false,"merged":[]}
["Time","elec","gas"]
[1,0.15,0.05]
[2,0.15,0.05]
[3,0.15,0.05]
[4,0.15,0.05]
[5,0.15,0.05]
[6,0.15,0.05]
[7,0.15,0.05]
[8,0.15,0.05]
[9,0.15,0.05]
[10,0.15,0.05]
[11,0.15,0.05]
[12,0.15,0.05]
[13,0.15,0.05]
[14,0.15,0.05]
[15,0.15,0.05]
[16,0.15,0.05]
[17,0.15,0.05]
[18,0.15,0.05]
[19,0.15,0.05]
[20,0.15,0.05]
[21,0.15,0.05]
[22,0.15,0.05]
[23,0.15,0.05]
[24,0.15,0.05]
[25,0.15,0.05]
[26,0.15,0.05]
[27,0.15,0.05]
[28,0.15,0.05]
[29,0.15,0.05]
[30,0.15,0.05]
[31,0.15,0.05]
[32,0.15,0.05]
[33,0.15,0.05]
[34,0.15,0.05]
[35,0.15,0.05]
[36,0.15,0.05]
[37,0.15,0.05]
[38,0.15,0.05]
[39,0.15,0.05]
[40,0.15,0.05]
[41,0.15,0.05]
[42,0.15,0.05]
[43,0.15,0.05]
[44,0.15,0.05]
[45,0.15,0.05]
[46,0.15,0.05]
[47,0.15,0.05]
[48,0.15,0.05]
[49,0.15,0.05]
[50,0.15,0.05]
[51,0.15,0.05]
[52,0.15,0.05]
[53,0.15,0.05]
[54,0.15,0.05]
[55,0.15,0.05]
[56,0.15,0.05]
[57,0.15,0.05]
[58,0.15,0.05]
[59,0.15,0.05]
[60,0.15,0.05]
[61,0.15,0.05]
[62,0.15,0.05]
[63,0.15,0.05]
[64,0.15,0.05]
[65,0.15,0.05]
[66,0.15,0.05]
[67,0.15,0.05]
[68,0.15,0.05]
[69,0.15,0.05]
[70,0.15,0.05]
[71,0.15,0.05]
[72,0.15,0.05]
[73,0.15,0.05]
[74,0.15,0.05]
[75,0.15,0.05]
[76,0.15,0.05]
[77,0.15,0.05]
[78,0.15,0.05]
[79,0.15,0.05]
[80,0.15,0.05]
[81,0.15,0.05]
[82,0.15,0.05]
[83,0.15,0.05]
[84,0.15,0.05]
[85,0.15,0.05]
[86,0.15,0.05]
[87,0.15,0.05]
[88,0.15,0.05]
[89,0.15,0.05]
[90,0.15,0.05]
[91,0.15,0.05]
[92,0.15,0.05]
[93,0.15,0.05]
[94,0.15,0.05]
[95,0.15,0.05]
[96,0.15,0.05]
[97,0.15,0.05]
[98,0.15,0.05]
[99,0.15,0.05]
[100,0.15,0.05]
[101,0.15,0.05]
[102,0.15,0.05]
[103,0.15,0.05]
[104,0.15,0.05]
[105,0.15,0.05]
[106,0.15,0.05]
[107,0.15,0.05]
[108,0.15,0.05]
[109,0.15,0.05]
[110,0.15,0.05]
[111,0.15,0.05]
[112,0.15,0.05]
[113,0.15,0.05]
[114,0.15,0.05]
[115,0.15,0.05]
[116,0.15,0.05]
[117,0.15,0.05]
[118,0.15,0.05]
[119,0.15,0.05]
[120,0.15,0.05]
[121,0.15,0.05]
[122,0.15,0.05]
[123,0.15,0.05]
[124,0.15,0.05]
[125,0.15,0.05]
[126,0.15,0.05]
[127,0.15,0.05]
[128,0.15,0.05]
[129,0.15,0.05]
[130,0.15,0.05]
[131,0.15,0.05]
[132,0.15,0.05]
[133,0.15,0.05]
[134,0.15,0.05]
[135,0.15,0.05]
[136,0.15,0.05]
[137,0.15,0.05]
[138,0.15,0.05]
[139,0.15,0.05]
[140,0.15,0.05]
[141,0.15,0.05]
[142,0.15,0.05]
[143,0.15,0.05]
[144,0.15,0.05]
[145,0.15,0.05]
[146,0.15,0.05]
[147,0.15,0.05]
[148,0.15,0.05]
[149,0.15,0.05]
[150,0.15,0.05]
[151,0.15,0.05]
[152,0.15,0.05]
[153,0.15,0.05]
[154,0.15,0.05]
[155,0.15,0.05]
[156,0.15,0.05]
[157,0.15,0.05]
[158,0.15,0.05]
[159,0.15,0.05]
[160,0.15,0.05]
[161,0.15,0.05]
[162,0.15,0.05]
[163,0.15,0.05]
[164,0.15,0.05]
[165,0.15,0.05]
[166,0.15,0.05]
[167,0.15,0.05]
[168,0.15,0.05]
[169,0.15,0.05]
[170,0.15,0.05]
[171,0.15,0.05]
[172,0.15,0.05]
[173,0.15,0.05]
[174,0.15,0.05]
[175,0.15,0.05]
[176,0.15,0.05]
[177,0.15,0.05]
[178,0.15,0.05]
[179,0.15,0.05]
[180,0.15,0.05]
[181,0.15,0.05]
[182,0.15,0.05]
[183,0.15,0.05]
[184,0.15,0.05]
[185,0.15,0.05]
[186,0.15,0.05]
[187,0.15,0.05]
[188,0.15,0.05]
[189,0.15,0.05]
[190,0.15,0.05]
[191,0.15,0.05]
[192,0.15,0.05]
[193,0.15,0.05]
[194,0.15,0.05]
[195,0.15,0.05]
[196,0.15,0.05]
[197,0.15,0.05]
[198,0.15,0.05]
[199,0.15,0.05]
[200,0.15,0.05]
[201,0.15,0.05]
[202,0.15,0.05]
[203,0.15,0.05]
[204,0.15,0.05]
[205,0.15,0.05]
[206,0.15,0.05]
[207,0.15,0.05]
[208,0.15,0.05]
[209,0.15,0.05]
[210,0.15,0.05]
[211,0.15,0.05]
[212,0.15,0.05]
[213,0.15,0.05]
[214,0.15,0.05]
[215,0.15,0.05]
[216,0.15,0.05]
[217,0.15,0.05]
[218,0.15,0.05]
[219,0.15,0.05]
[220,0.15,0.05]
[221,0.15,0.05]
[222,0.15,0.05]
[223,0.15,0.05]
[224,0.15,0.05]
[225,0.15,0.05]
[226,0.15,0.05]
[227,0.15,0.05]
[228,0.15,0.05]
[229,0.15,0.05]
[230,0.15,0.05]
[231,0.15,0.05]
[232,0.15,0.05]
[233,0.15,0.05]
[234,0.15,0.05]
[235,0.15,0.05]
[236,0.15,0.05]
[237,0.15,0.05]
[238,0.15,0.05]
[239,0.15,0.05]
[240,0.15,0.05]
[241,0.15,0.05]
[242,0.15,0.05]
[243,0.15,0.05]
[244,0.15,0.05]
[245,0.15,0.05]
[246,0.15,0.05]
[247,0.15,0.05]
[248,0.15,0.05]
[249,0.15,0.05]
[250,0.15,0.05]
[251,0.15,0.05]
[252,0.15,0.05]
[253,0.15,0.05]
[254,0.15,0.05]
[255,0.15,0.05]
[256,0.15,0.05]
[257,0.15,0.05]
[258,0.15,0.05]
[259,0.15,0.05]
[260,0.15,0.05]
[261,0.15,0.05]
[262,0.15,0.05]
[263,0.15,0.05]
[264,0.15,0.05]
[265,0.15,0.05]
[266,0.15,0.05]
[267,0.15,0.05]
[268,0.15,0.05]
[269,0.15,0.05]
[270,0.15,0.05]
[271,0.15,0.05]
[272,0.15,0.05]
[273,0.15,0.05]
[274,0.15,0.05]
[275,0.15,0.05]
[276,0.15,0.05]
[277,0.15,0.05]
[278,0.15,0.05]
[279,0.15,0.05]
[280,0.15,0.05]
[281,0.15,0.05]
[282,0.15,0.05]
[283,0.15,0.05]
[284,0.15,0.05]
[285,0.15,0.05]
[286,0.15,0.05]
[287,0.15,0.05]
[288,0.15,0.05]
[289,0.15,0.05]
[290,0.15,0.05]
[291,0.15,0.05]
[292,0.15,0.05]
[293,0.15,0.05]
[294,0.15,0.05]
[295,0.15,0.05]
[296,0.15,0.05]
[297,0.15,0.05]
[298,0.15,0.05]
[299,0.15,0.05]
[300,0.15,0.05]
[301,0.15,0.05]
[302,0.15,0.05]
[303,0.15,0.05]
[304,0.15,0.05]
[305,0.15,0.05]
[306,0.15,0.05]
[307,0.15,0.05]
[308,0.15,0.05]
[309,0.15,0.05]
[310,0.15,0.05]
[311,0.15,0.05]
[312,0.15,0.05]
[313,0.15,0.05]
[314,0.15,0.05]
[315,0.15,0.05]
[316,0.15,0.05]
[317,0.15,0.05]
[318,0.15,0.05]
[319,0.15,0.05]
[320,0.15,0.05]
[321,0.15,0.05]
[322,0.15,0.05]
[323,0.15,0.05]
[324,0.15,0.05]
[325,0.15,0.05]
[326,0.15,0.05]
[327,0.15,0.05]
[328,0.15,0.05]
[329,0.15,0.05]
[330,0.15,0.05]
[331,0.15,0.05]
[332,0.15,0.05]
[333,0.15,0.05]
[334,0.15,0.05]
[335,0.15,0.05]
[336,0.15,0.05]
[337,0.15,0.05]
[338,0.15,0.05]
[339,0.15,0.05]
[340,0.15,0.05]
[341,0.15,0.05]
[342,0.15,0.05]
[343,0.15,0.05]
[344,0.15,0.05]
[345,0.15,0.05]
[346,0.15,0.05]
[347,0.15,0.05]
[348,0.15,0.05]
[349,0.15,0.05]
[350,0.15,0.05]
[351,0.15,0.05]
[352,0.15,0.05]
[353,0.15,0.05]
[354,0.15,0.05]
[355,0.15,0.05]
[356,0.15,0.05]
[357,0.15,0.05]
[358,0.15,0.05]
[359,0.15,0.05]
[360,0.15,0.05]
[361,0.15,0.05]
[362,0.15,0.05]
[363,0.15,0.05]
[364,0.15,0.05]
[365,0.15,0.05]
[366,0.15,0.05]
[367,0.15,0.05]
[368,0.15,0.05]
[369,0.15,0.05]
[370,0.15,0.05]
[371,0.15,0.05]
[372,0.15,0.05]
[373,0.15,0.05]
[374,0.15,0.05]
[375,0.15,0.05]
[376,0.15,0.05]
[377,0.15,0.05]
[378,0.15,0.05]
[379,0.15,0.05]
[380,0.15,0.05]
[381,0.15,0.05]
[382,0.15,0.05]
[383,0.15,0.05]
[384,0.15,0.05]
[385,0.15,0.05]
[386,0.15,0.05]
[387,0.15,0.05]
[388,0.15,0.05]
[389,0.15,0.05]
[390,0.15,0.05]
[391,0.15,0.05]
[392,0.15,0.05]
[393,0.15,0.05]
[394,0.15,0.05]
[395,0.15,0.05]
[396,0.15,0.05]
[397,0.15,0.05]
[398,0.15,0.05]
[399,0.15,0.05]
[400,0.15,0.05]
[401,0.15,0.05]
[402,0.15,0.05]
[403,0.15,0.05]
[404,0.15,0.05]
[405,0.15,0.05]
[406,0.15,0.05]
[407,0.15,0.05]
[408,0.15,0.05]
[409,0.15,0.05]
[410,0.15,0.05]
[411,0.15,0.05]
[412,0.15,0.05]
[413,0.15,0.05]
[414,0.15,0.05]
[415,0.15,0.05]
[416,0.15,0.05]
[417,0.15,0.05]
[418,0.15,0.05]
[419,0.15,0.05]
[420,0.15,0.05]
[421,0.15,0.05]
[422,0.15,0.05]
[423,0.15,0.05]
[424,0.15,0.05]
[425,0.15,0.05]
[426,0.15,0.05]
[427,0.15,0.05]
[428,0.15,0.05]
[429,0.15,0.05]
[430,0.15,0.05]
[431,0.15,0.05]
[432,0.15,0.05]
[433,0.15,0.05]
[434,0.15,0.05]
[435,0.15,0.05]
[436,0.15,0.05]
[437,0.15,0.05]
[438,0.15,0.05]
[439,0.15,0.05]
[440,0.15,0.05]
[441,0.15,0.05]
[442,0.15,0.05]
[443,0.15,0.05]
[444,0.15,0.05]
[445,0.15,0.05]
[446,0.15,0.05]
[447,0.15,0.05]
[448,0.15,0.05]
[449,0.15,0.05]
[450,0.15,0.05]
[451,0.15,0.05]
[452,0.15,0.05]
[453,0.15,0.05]
[454,0.15,0.05]
[455,0.15,0.05]
[456,0.15,0.05]
[457,0.15,0.05]
[458,0.15,0.05]
[459,0.15,0.05]
[460,0.15,0.05]
[461,0.15,0.05]
[462,0.15,0.05]
[463,0.15,0.05]
[464,0.15,0.05]
[465,0.15,0.05]
[466,0.15,0.05]
[467,0.15,0.05]
[468,0.15,0.05]
[469,0.15,0.05]
[470,0.15,0.05]
[471,0.15,0.05]
[472,0.15,0.05]
[473,0.15,0.05]
[474,0.15,0.05]
[475,0.15,0.05]
[476,0.15,0.05]
[477,0.15,0.05]
[478,0.15,0.05]
[479,0.15,0.05]
[480,0.15,0.05]
[481,0.15,0.05]
[482,0.15,0.05]
[483,0.15,0.05]
[484,0.15,0.05]
[485,0.15,0.05]
[486,0.15,0.05]
[487,0.15,0.05]
[488,0.15,0.05]
[489,0.15,0.05]
[490,0.15,0.05]
[491,0.15,0.05]
[492,0.15,0.05]
[493,0.15,0.05]
[494,0.15,0.05]
[495,0.15,0.05]
[496,0.15,0.05]
[497,0.15,0.05]
[498,0.15,0.05]
[499,0.15,0.05]
[500,0.15,0.05]
[501,0.15,0.05]
[502,0.15,0.05]
[503,0.15,0.05]
[504,0.15,0.05]
[505,0.15,0.05]
[506,0.15,0.05]
[507,0.15,0.05]
[508,0.15,0.05]
[509,0.15,0.05]
[510,0.15,0.05]
[511,0.15,0.05]
[512,0.15,0.05]
[513,0.15,0.05]
[514,0.15,0.05]
[515,0.15,0.05]
[516,0.15,0.05]
[517,0.15,0.05]
[518,0.15,0.05]
[519,0.15,0.05]
[520,0.15,0.05]
[521,0.15,0.05]
[522,0.15,0.05]
[523,0.15,0.05]
[524,0.15,0.05]
[525,0.15,0.05]
[526,0.15,0.05]
[527,0.15,0.05]
[528,0.15,0.05]
[529,0.15,0.05]
[530,0.15,0.05]
[531,0.15,0.05]
[532,0.15,0.05]
[533,0.15,0.05]
[534,0.15,0.05]
[535,0.15,0.05]
[536,0.15,0.05]
[537,0.15,0.05]
[538,0.15,0.05]
[539,0.15,0.05]
[540,0.15,0.05]
[541,0.15,0.05]
[542,0.15,0.05]
[543,0.15,0.05]
[544,0.15,0.05]
[545,0.15,0.05]
[546,0.15,0.05]
[547,0.15,0.05]
[548,0.15,0.05]
[549,0.15,0.05]
[550,0.15,0.05]
[551,0.15,0.05]
[552,0.15,0.05]
[553,0.15,0.05]
[554,0.15,0.05]
[555,0.15,0.05]
[556,0.15,0.05]
[557,0.15,0.05]
[558,0.15,0.05]
[559,0.15,0.05]
[560,0.15,0.05]
[561,0.15,0.05]
[562,0.15,0.05]
[563,0.15,0.05]
[564,0.15,0.05]
[565,0.15,0.05]
[566,0.15,0.05]
[567,0.15,0.05]
[568,0.15,0.05]
[569,0.15,0.05]
[570,0.15,0.05]
[571,0.15,0.05]
[572,0.15,0.05]
[573,0.15,0.05]
[574,0.15,0.05]
[575,0.15,0.05]
[576,0.15,0.05]
[577,0.15,0.05]
[578,0.15,0.05]
[579,0.15,0.05]
[580,0.15,0.05]
[581,0.15,0.05]
[582,0.15,0.05]
[583,0.15,0.05]
[584,0.15,0.05]
[585,0.15,0.05]
[586,0.15,0.05]
[587,0.15,0.05]
[588,0.15,0.05]
[589,0.15,0.05]
[590,0.15,0.05]
[591,0.15,0.05]
[592,0.15,0.05]
[593,0.15,0.05]
[594,0.15,0.05]
[595,0.15,0.05]
[596,0.15,0.05]
[597,0.15,0.05]
[598,0.15,0.05]
[599,0.15,0.05]
[600,0.15,0.05]
[601,0.15,0.05]
[602,0.15,0.05]
[603,0.15,0.05]
[604,0.15,0.05]
[605,0.15,0.05]
[606,0.15,0.05]
[607,0.15,0.05]
[608,0.15,0.05]
[609,0.15,0.05]
[610,0.15,0.05]
[611,0.15,0.05]
[612,0.15,0.05]
[613,0.15,0.05]
[614,0.15,0.05]
[615,0.15,0.05]
[616,0.15,0.05]
[617,0.15,0.05]
[618,0.15,0.05]
[619,0.15,0.05]
[620,0.15,0.05]
[621,0.15,0.05]
[622,0.15,0.05]
[623,0.15,0.05]
[624,0.15,0.05]
[625,0.15,0.05]
[626,0.15,0.05]
[627,0.15,0.05]
[628,0.15,0.05]
[629,0.15,0.05]
[630,0.15,0.05]
[631,0.15,0.05]
[632,0.15,0.05]
[633,0.15,0.05]
[634,0.15,0.05]
[635,0.15,0.05]
[636,0.15,0.05]
[637,0.15,0.05]
[638,0.15,0.05]
[639,0.15,0.05]
[640,0.15,0.05]
[641,0.15,0.05]
[642,0.15,0.05]
[643,0.15,0.05]
[644,0.15,0.05]
[645,0.15,0.05]
[646,0.15,0.05]
[647,0.15,0.05]
[648,0.15,0.05]
[649,0.15,0.05]
[650,0.15,0.05]
[651,0.15,0.05]
[652,0.15,0.05]
[653,0.15,0.05]
[654,0.15,0.05]
[655,0.15,0.05]
[656,0.15,0.05]
[657,0.15,0.05]
[658,0.15,0.05]
[659,0.15,0.05]
[660,0.15,0.05]
[661,0.15,0.05]
[662,0.15,0.05]
[663,0.15,0.05]
[664,0.15,0.05]
[665,0.15,0.05]
[666,0.15,0.05]
[667,0.15,0.05]
[668,0.15,0.05]
[669,0.15,0.05]
[670,0.15,0.05]
[671,0.15,0.05]
[672,0.15,0.05]

{"sheet":"Ext-Export","index":6,"n_rows":673,"n_cols":2,"rows_kept":673,"cut":false,"hidden":false,"merged":[]}
["Time","elec"]
[1,0.01]
[2,0.01]
[3,0.01]
[4,0.01]
[5,0.01]
[6,0.01]
[7,0.01]
[8,0.01]
[9,0.01]
[10,0.01]
[11,0.01]
[12,0.01]
[13,0.01]
[14,0.01]
[15,0.01]
[16,0.01]
[17,0.01]
[18,0.01]
[19,0.01]
[20,0.01]
[21,0.01]
[22,0.01]
[23,0.01]
[24,0.01]
[25,0.01]
[26,0.01]
[27,0.01]
[28,0.01]
[29,0.01]
[30,0.01]
[31,0.01]
[32,0.01]
[33,0.01]
[34,0.01]
[35,0.01]
[36,0.01]
[37,0.01]
[38,0.01]
[39,0.01]
[40,0.01]
[41,0.01]
[42,0.01]
[43,0.01]
[44,0.01]
[45,0.01]
[46,0.01]
[47,0.01]
[48,0.01]
[49,0.01]
[50,0.01]
[51,0.01]
[52,0.01]
[53,0.01]
[54,0.01]
[55,0.01]
[56,0.01]
[57,0.01]
[58,0.01]
[59,0.01]
[60,0.01]
[61,0.01]
[62,0.01]
[63,0.01]
[64,0.01]
[65,0.01]
[66,0.01]
[67,0.01]
[68,0.01]
[69,0.01]
[70,0.01]
[71,0.01]
[72,0.01]
[73,0.01]
[74,0.01]
[75,0.01]
[76,0.01]
[77,0.01]
[78,0.01]
[79,0.01]
[80,0.01]
[81,0.01]
[82,0.01]
[83,0.01]
[84,0.01]
[85,0.01]
[86,0.01]
[87,0.01]
[88,0.01]
[89,0.01]
[90,0.01]
[91,0.01]
[92,0.01]
[93,0.01]
[94,0.01]
[95,0.01]
[96,0.01]
[97,0.01]
[98,0.01]
[99,0.01]
[100,0.01]
[101,0.01]
[102,0.01]
[103,0.01]
[104,0.01]
[105,0.01]
[106,0.01]
[107,0.01]
[108,0.01]
[109,0.01]
[110,0.01]
[111,0.01]
[112,0.01]
[113,0.01]
[114,0.01]
[115,0.01]
[116,0.01]
[117,0.01]
[118,0.01]
[119,0.01]
[120,0.01]
[121,0.01]
[122,0.01]
[123,0.01]
[124,0.01]
[125,0.01]
[126,0.01]
[127,0.01]
[128,0.01]
[129,0.01]
[130,0.01]
[131,0.01]
[132,0.01]
[133,0.01]
[134,0.01]
[135,0.01]
[136,0.01]
[137,0.01]
[138,0.01]
[139,0.01]
[140,0.01]
[141,0.01]
[142,0.01]
[143,0.01]
[144,0.01]
[145,0.01]
[146,0.01]
[147,0.01]
[148,0.01]
[149,0.01]
[150,0.01]
[151,0.01]
[152,0.01]
[153,0.01]
[154,0.01]
[155,0.01]
[156,0.01]
[157,0.01]
[158,0.01]
[159,0.01]
[160,0.01]
[161,0.01]
[162,0.01]
[163,0.01]
[164,0.01]
[165,0.01]
[166,0.01]
[167,0.01]
[168,0.01]
[169,0.01]
[170,0.01]
[171,0.01]
[172,0.01]
[173,0.01]
[174,0.01]
[175,0.01]
[176,0.01]
[177,0.01]
[178,0.01]
[179,0.01]
[180,0.01]
[181,0.01]
[182,0.01]
[183,0.01]
[184,0.01]
[185,0.01]
[186,0.01]
[187,0.01]
[188,0.01]
[189,0.01]
[190,0.01]
[191,0.01]
[192,0.01]
[193,0.01]
[194,0.01]
[195,0.01]
[196,0.01]
[197,0.01]
[198,0.01]
[199,0.01]
[200,0.01]
[201,0.01]
[202,0.01]
[203,0.01]
[204,0.01]
[205,0.01]
[206,0.01]
[207,0.01]
[208,0.01]
[209,0.01]
[210,0.01]
[211,0.01]
[212,0.01]
[213,0.01]
[214,0.01]
[215,0.01]
[216,0.01]
[217,0.01]
[218,0.01]
[219,0.01]
[220,0.01]
[221,0.01]
[222,0.01]
[223,0.01]
[224,0.01]
[225,0.01]
[226,0.01]
[227,0.01]
[228,0.01]
[229,0.01]
[230,0.01]
[231,0.01]
[232,0.01]
[233,0.01]
[234,0.01]
[235,0.01]
[236,0.01]
[237,0.01]
[238,0.01]
[239,0.01]
[240,0.01]
[241,0.01]
[242,0.01]
[243,0.01]
[244,0.01]
[245,0.01]
[246,0.01]
[247,0.01]
[248,0.01]
[249,0.01]
[250,0.01]
[251,0.01]
[252,0.01]
[253,0.01]
[254,0.01]
[255,0.01]
[256,0.01]
[257,0.01]
[258,0.01]
[259,0.01]
[260,0.01]
[261,0.01]
[262,0.01]
[263,0.01]
[264,0.01]
[265,0.01]
[266,0.01]
[267,0.01]
[268,0.01]
[269,0.01]
[270,0.01]
[271,0.01]
[272,0.01]
[273,0.01]
[274,0.01]
[275,0.01]
[276,0.01]
[277,0.01]
[278,0.01]
[279,0.01]
[280,0.01]
[281,0.01]
[282,0.01]
[283,0.01]
[284,0.01]
[285,0.01]
[286,0.01]
[287,0.01]
[288,0.01]
[289,0.01]
[290,0.01]
[291,0.01]
[292,0.01]
[293,0.01]
[294,0.01]
[295,0.01]
[296,0.01]
[297,0.01]
[298,0.01]
[299,0.01]
[300,0.01]
[301,0.01]
[302,0.01]
[303,0.01]
[304,0.01]
[305,0.01]
[306,0.01]
[307,0.01]
[308,0.01]
[309,0.01]
[310,0.01]
[311,0.01]
[312,0.01]
[313,0.01]
[314,0.01]
[315,0.01]
[316,0.01]
[317,0.01]
[318,0.01]
[319,0.01]
[320,0.01]
[321,0.01]
[322,0.01]
[323,0.01]
[324,0.01]
[325,0.01]
[326,0.01]
[327,0.01]
[328,0.01]
[329,0.01]
[330,0.01]
[331,0.01]
[332,0.01]
[333,0.01]
[334,0.01]
[335,0.01]
[336,0.01]
[337,0.01]
[338,0.01]
[339,0.01]
[340,0.01]
[341,0.01]
[342,0.01]
[343,0.01]
[344,0.01]
[345,0.01]
[346,0.01]
[347,0.01]
[348,0.01]
[349,0.01]
[350,0.01]
[351,0.01]
[352,0.01]
[353,0.01]
[354,0.01]
[355,0.01]
[356,0.01]
[357,0.01]
[358,0.01]
[359,0.01]
[360,0.01]
[361,0.01]
[362,0.01]
[363,0.01]
[364,0.01]
[365,0.01]
[366,0.01]
[367,0.01]
[368,0.01]
[369,0.01]
[370,0.01]
[371,0.01]
[372,0.01]
[373,0.01]
[374,0.01]
[375,0.01]
[376,0.01]
[377,0.01]
[378,0.01]
[379,0.01]
[380,0.01]
[381,0.01]
[382,0.01]
[383,0.01]
[384,0.01]
[385,0.01]
[386,0.01]
[387,0.01]
[388,0.01]
[389,0.01]
[390,0.01]
[391,0.01]
[392,0.01]
[393,0.01]
[394,0.01]
[395,0.01]
[396,0.01]
[397,0.01]
[398,0.01]
[399,0.01]
[400,0.01]
[401,0.01]
[402,0.01]
[403,0.01]
[404,0.01]
[405,0.01]
[406,0.01]
[407,0.01]
[408,0.01]
[409,0.01]
[410,0.01]
[411,0.01]
[412,0.01]
[413,0.01]
[414,0.01]
[415,0.01]
[416,0.01]
[417,0.01]
[418,0.01]
[419,0.01]
[420,0.01]
[421,0.01]
[422,0.01]
[423,0.01]
[424,0.01]
[425,0.01]
[426,0.01]
[427,0.01]
[428,0.01]
[429,0.01]
[430,0.01]
[431,0.01]
[432,0.01]
[433,0.01]
[434,0.01]
[435,0.01]
[436,0.01]
[437,0.01]
[438,0.01]
[439,0.01]
[440,0.01]
[441,0.01]
[442,0.01]
[443,0.01]
[444,0.01]
[445,0.01]
[446,0.01]
[447,0.01]
[448,0.01]
[449,0.01]
[450,0.01]
[451,0.01]
[452,0.01]
[453,0.01]
[454,0.01]
[455,0.01]
[456,0.01]
[457,0.01]
[458,0.01]
[459,0.01]
[460,0.01]
[461,0.01]
[462,0.01]
[463,0.01]
[464,0.01]
[465,0.01]
[466,0.01]
[467,0.01]
[468,0.01]
[469,0.01]
[470,0.01]
[471,0.01]
[472,0.01]
[473,0.01]
[474,0.01]
[475,0.01]
[476,0.01]
[477,0.01]
[478,0.01]
[479,0.01]
[480,0.01]
[481,0.01]
[482,0.01]
[483,0.01]
[484,0.01]
[485,0.01]
[486,0.01]
[487,0.01]
[488,0.01]
[489,0.01]
[490,0.01]
[491,0.01]
[492,0.01]
[493,0.01]
[494,0.01]
[495,0.01]
[496,0.01]
[497,0.01]
[498,0.01]
[499,0.01]
[500,0.01]
[501,0.01]
[502,0.01]
[503,0.01]
[504,0.01]
[505,0.01]
[506,0.01]
[507,0.01]
[508,0.01]
[509,0.01]
[510,0.01]
[511,0.01]
[512,0.01]
[513,0.01]
[514,0.01]
[515,0.01]
[516,0.01]
[517,0.01]
[518,0.01]
[519,0.01]
[520,0.01]
[521,0.01]
[522,0.01]
[523,0.01]
[524,0.01]
[525,0.01]
[526,0.01]
[527,0.01]
[528,0.01]
[529,0.01]
[530,0.01]
[531,0.01]
[532,0.01]
[533,0.01]
[534,0.01]
[535,0.01]
[536,0.01]
[537,0.01]
[538,0.01]
[539,0.01]
[540,0.01]
[541,0.01]
[542,0.01]
[543,0.01]
[544,0.01]
[545,0.01]
[546,0.01]
[547,0.01]
[548,0.01]
[549,0.01]
[550,0.01]
[551,0.01]
[552,0.01]
[553,0.01]
[554,0.01]
[555,0.01]
[556,0.01]
[557,0.01]
[558,0.01]
[559,0.01]
[560,0.01]
[561,0.01]
[562,0.01]
[563,0.01]
[564,0.01]
[565,0.01]
[566,0.01]
[567,0.01]
[568,0.01]
[569,0.01]
[570,0.01]
[571,0.01]
[572,0.01]
[573,0.01]
[574,0.01]
[575,0.01]
[576,0.01]
[577,0.01]
[578,0.01]
[579,0.01]
[580,0.01]
[581,0.01]
[582,0.01]
[583,0.01]
[584,0.01]
[585,0.01]
[586,0.01]
[587,0.01]
[588,0.01]
[589,0.01]
[590,0.01]
[591,0.01]
[592,0.01]
[593,0.01]
[594,0.01]
[595,0.01]
[596,0.01]
[597,0.01]
[598,0.01]
[599,0.01]
[600,0.01]
[601,0.01]
[602,0.01]
[603,0.01]
[604,0.01]
[605,0.01]
[606,0.01]
[607,0.01]
[608,0.01]
[609,0.01]
[610,0.01]
[611,0.01]
[612,0.01]
[613,0.01]
[614,0.01]
[615,0.01]
[616,0.01]
[617,0.01]
[618,0.01]
[619,0.01]
[620,0.01]
[621,0.01]
[622,0.01]
[623,0.01]
[624,0.01]
[625,0.01]
[626,0.01]
[627,0.01]
[628,0.01]
[629,0.01]
[630,0.01]
[631,0.01]
[632,0.01]
[633,0.01]
[634,0.01]
[635,0.01]
[636,0.01]
[637,0.01]
[638,0.01]
[639,0.01]
[640,0.01]
[641,0.01]
[642,0.01]
[643,0.01]
[644,0.01]
[645,0.01]
[646,0.01]
[647,0.01]
[648,0.01]
[649,0.01]
[650,0.01]
[651,0.01]
[652,0.01]
[653,0.01]
[654,0.01]
[655,0.01]
[656,0.01]
[657,0.01]
[658,0.01]
[659,0.01]
[660,0.01]
[661,0.01]
[662,0.01]
[663,0.01]
[664,0.01]
[665,0.01]
[666,0.01]
[667,0.01]
[668,0.01]
[669,0.01]
[670,0.01]
[671,0.01]
[672,0.01]

{"sheet":"Demand-Rate-Factor","index":7,"n_rows":673,"n_cols":3,"rows_kept":673,"cut":false,"hidden":false,"merged":[]}
["Time","elec","gas"]
[1,1,1]
[2,1,1]
[3,1,1]
[4,1,1]
[5,1,1]
[6,1,1]
[7,1,1]
[8,1,1]
[9,1,1]
[10,1,1]
[11,1,1]
[12,1,1]
[13,1,1]
[14,1,1]
[15,1,1]
[16,1,1]
[17,1,1]
[18,1,1]
[19,1,1]
[20,1,1]
[21,1,1]
[22,1,1]
[23,1,1]
[24,1,1]
[25,1,1]
[26,1,1]
[27,1,1]
[28,1,1]
[29,1,1]
[30,1,1]
[31,1,1]
[32,1,1]
[33,1,1]
[34,1,1]
[35,1,1]
[36,1,1]
[37,1,1]
[38,1,1]
[39,1,1]
[40,1,1]
[41,1,1]
[42,1,1]
[43,1,1]
[44,1,1]
[45,1,1]
[46,1,1]
[47,1,1]
[48,1,1]
[49,1,1]
[50,1,1]
[51,1,1]
[52,1,1]
[53,1,1]
[54,1,1]
[55,1,1]
[56,1,1]
[57,1,1]
[58,1,1]
[59,1,1]
[60,1,1]
[61,1,1]
[62,1,1]
[63,1,1]
[64,1,1]
[65,1,1]
[66,1,1]
[67,1,1]
[68,1,1]
[69,1,1]
[70,1,1]
[71,1,1]
[72,1,1]
[73,1,1]
[74,1,1]
[75,1,1]
[76,1,1]
[77,1,1]
[78,1,1]
[79,1,1]
[80,1,1]
[81,1,1]
[82,1,1]
[83,1,1]
[84,1,1]
[85,1,1]
[86,1,1]
[87,1,1]
[88,1,1]
[89,1,1]
[90,1,1]
[91,1,1]
[92,1,1]
[93,1,1]
[94,1,1]
[95,1,1]
[96,1,1]
[97,1,1]
[98,1,1]
[99,1,1]
[100,1,1]
[101,1,1]
[102,1,1]
[103,1,1]
[104,1,1]
[105,1,1]
[106,1,1]
[107,1,1]
[108,1,1]
[109,1,1]
[110,1,1]
[111,1,1]
[112,1,1]
[113,1,1]
[114,1,1]
[115,1,1]
[116,1,1]
[117,1,1]
[118,1,1]
[119,1,1]
[120,1,1]
[121,1,1]
[122,1,1]
[123,1,1]
[124,1,1]
[125,1,1]
[126,1,1]
[127,1,1]
[128,1,1]
[129,1,1]
[130,1,1]
[131,1,1]
[132,1,1]
[133,1,1]
[134,1,1]
[135,1,1]
[136,1,1]
[137,1,1]
[138,1,1]
[139,1,1]
[140,1,1]
[141,1,1]
[142,1,1]
[143,1,1]
[144,1,1]
[145,1,1]
[146,1,1]
[147,1,1]
[148,1,1]
[149,1,1]
[150,1,1]
[151,1,1]
[152,1,1]
[153,1,1]
[154,1,1]
[155,1,1]
[156,1,1]
[157,1,1]
[158,1,1]
[159,1,1]
[160,1,1]
[161,1,1]
[162,1,1]
[163,1,1]
[164,1,1]
[165,1,1]
[166,1,1]
[167,1,1]
[168,1,1]
[169,1,1]
[170,1,1]
[171,1,1]
[172,1,1]
[173,1,1]
[174,1,1]
[175,1,1]
[176,1,1]
[177,1,1]
[178,1,1]
[179,1,1]
[180,1,1]
[181,1,1]
[182,1,1]
[183,1,1]
[184,1,1]
[185,1,1]
[186,1,1]
[187,1,1]
[188,1,1]
[189,1,1]
[190,1,1]
[191,1,1]
[192,1,1]
[193,1,1]
[194,1,1]
[195,1,1]
[196,1,1]
[197,1,1]
[198,1,1]
[199,1,1]
[200,1,1]
[201,1,1]
[202,1,1]
[203,1,1]
[204,1,1]
[205,1,1]
[206,1,1]
[207,1,1]
[208,1,1]
[209,1,1]
[210,1,1]
[211,1,1]
[212,1,1]
[213,1,1]
[214,1,1]
[215,1,1]
[216,1,1]
[217,1,1]
[218,1,1]
[219,1,1]
[220,1,1]
[221,1,1]
[222,1,1]
[223,1,1]
[224,1,1]
[225,1,1]
[226,1,1]
[227,1,1]
[228,1,1]
[229,1,1]
[230,1,1]
[231,1,1]
[232,1,1]
[233,1,1]
[234,1,1]
[235,1,1]
[236,1,1]
[237,1,1]
[238,1,1]
[239,1,1]
[240,1,1]
[241,1,1]
[242,1,1]
[243,1,1]
[244,1,1]
[245,1,1]
[246,1,1]
[247,1,1]
[248,1,1]
[249,1,1]
[250,1,1]
[251,1,1]
[252,1,1]
[253,1,1]
[254,1,1]
[255,1,1]
[256,1,1]
[257,1,1]
[258,1,1]
[259,1,1]
[260,1,1]
[261,1,1]
[262,1,1]
[263,1,1]
[264,1,1]
[265,1,1]
[266,1,1]
[267,1,1]
[268,1,1]
[269,1,1]
[270,1,1]
[271,1,1]
[272,1,1]
[273,1,1]
[274,1,1]
[275,1,1]
[276,1,1]
[277,1,1]
[278,1,1]
[279,1,1]
[280,1,1]
[281,1,1]
[282,1,1]
[283,1,1]
[284,1,1]
[285,1,1]
[286,1,1]
[287,1,1]
[288,1,1]
[289,1,1]
[290,1,1]
[291,1,1]
[292,1,1]
[293,1,1]
[294,1,1]
[295,1,1]
[296,1,1]
[297,1,1]
[298,1,1]
[299,1,1]
[300,1,1]
[301,1,1]
[302,1,1]
[303,1,1]
[304,1,1]
[305,1,1]
[306,1,1]
[307,1,1]
[308,1,1]
[309,1,1]
[310,1,1]
[311,1,1]
[312,1,1]
[313,1,1]
[314,1,1]
[315,1,1]
[316,1,1]
[317,1,1]
[318,1,1]
[319,1,1]
[320,1,1]
[321,1,1]
[322,1,1]
[323,1,1]
[324,1,1]
[325,1,1]
[326,1,1]
[327,1,1]
[328,1,1]
[329,1,1]
[330,1,1]
[331,1,1]
[332,1,1]
[333,1,1]
[334,1,1]
[335,1,1]
[336,1,1]
[337,1,1]
[338,1,1]
[339,1,1]
[340,1,1]
[341,1,1]
[342,1,1]
[343,1,1]
[344,1,1]
[345,1,1]
[346,1,1]
[347,1,1]
[348,1,1]
[349,1,1]
[350,1,1]
[351,1,1]
[352,1,1]
[353,1,1]
[354,1,1]
[355,1,1]
[356,1,1]
[357,1,1]
[358,1,1]
[359,1,1]
[360,1,1]
[361,1,1]
[362,1,1]
[363,1,1]
[364,1,1]
[365,1,1]
[366,1,1]
[367,1,1]
[368,1,1]
[369,1,1]
[370,1,1]
[371,1,1]
[372,1,1]
[373,1,1]
[374,1,1]
[375,1,1]
[376,1,1]
[377,1,1]
[378,1,1]
[379,1,1]
[380,1,1]
[381,1,1]
[382,1,1]
[383,1,1]
[384,1,1]
[385,1,1]
[386,1,1]
[387,1,1]
[388,1,1]
[389,1,1]
[390,1,1]
[391,1,1]
[392,1,1]
[393,1,1]
[394,1,1]
[395,1,1]
[396,1,1]
[397,1,1]
[398,1,1]
[399,1,1]
[400,1,1]
[401,1,1]
[402,1,1]
[403,1,1]
[404,1,1]
[405,1,1]
[406,1,1]
[407,1,1]
[408,1,1]
[409,1,1]
[410,1,1]
[411,1,1]
[412,1,1]
[413,1,1]
[414,1,1]
[415,1,1]
[416,1,1]
[417,1,1]
[418,1,1]
[419,1,1]
[420,1,1]
[421,1,1]
[422,1,1]
[423,1,1]
[424,1,1]
[425,1,1]
[426,1,1]
[427,1,1]
[428,1,1]
[429,1,1]
[430,1,1]
[431,1,1]
[432,1,1]
[433,1,1]
[434,1,1]
[435,1,1]
[436,1,1]
[437,1,1]
[438,1,1]
[439,1,1]
[440,1,1]
[441,1,1]
[442,1,1]
[443,1,1]
[444,1,1]
[445,1,1]
[446,1,1]
[447,1,1]
[448,1,1]
[449,1,1]
[450,1,1]
[451,1,1]
[452,1,1]
[453,1,1]
[454,1,1]
[455,1,1]
[456,1,1]
[457,1,1]
[458,1,1]
[459,1,1]
[460,1,1]
[461,1,1]
[462,1,1]
[463,1,1]
[464,1,1]
[465,1,1]
[466,1,1]
[467,1,1]
[468,1,1]
[469,1,1]
[470,1,1]
[471,1,1]
[472,1,1]
[473,1,1]
[474,1,1]
[475,1,1]
[476,1,1]
[477,1,1]
[478,1,1]
[479,1,1]
[480,1,1]
[481,1,1]
[482,1,1]
[483,1,1]
[484,1,1]
[485,1,1]
[486,1,1]
[487,1,1]
[488,1,1]
[489,1,1]
[490,1,1]
[491,1,1]
[492,1,1]
[493,1,1]
[494,1,1]
[495,1,1]
[496,1,1]
[497,1,1]
[498,1,1]
[499,1,1]
[500,1,1]
[501,1,1]
[502,1,1]
[503,1,1]
[504,1,1]
[505,1,1]
[506,1,1]
[507,1,1]
[508,1,1]
[509,1,1]
[510,1,1]
[511,1,1]
[512,1,1]
[513,1,1]
[514,1,1]
[515,1,1]
[516,1,1]
[517,1,1]
[518,1,1]
[519,1,1]
[520,1,1]
[521,1,1]
[522,1,1]
[523,1,1]
[524,1,1]
[525,1,1]
[526,1,1]
[527,1,1]
[528,1,1]
[529,1,1]
[530,1,1]
[531,1,1]
[532,1,1]
[533,1,1]
[534,1,1]
[535,1,1]
[536,1,1]
[537,1,1]
[538,1,1]
[539,1,1]
[540,1,1]
[541,1,1]
[542,1,1]
[543,1,1]
[544,1,1]
[545,1,1]
[546,1,1]
[547,1,1]
[548,1,1]
[549,1,1]
[550,1,1]
[551,1,1]
[552,1,1]
[553,1,1]
[554,1,1]
[555,1,1]
[556,1,1]
[557,1,1]
[558,1,1]
[559,1,1]
[560,1,1]
[561,1,1]
[562,1,1]
[563,1,1]
[564,1,1]
[565,1,1]
[566,1,1]
[567,1,1]
[568,1,1]
[569,1,1]
[570,1,1]
[571,1,1]
[572,1,1]
[573,1,1]
[574,1,1]
[575,1,1]
[576,1,1]
[577,1,1]
[578,1,1]
[579,1,1]
[580,1,1]
[581,1,1]
[582,1,1]
[583,1,1]
[584,1,1]
[585,1,1]
[586,1,1]
[587,1,1]
[588,1,1]
[589,1,1]
[590,1,1]
[591,1,1]
[592,1,1]
[593,1,1]
[594,1,1]
[595,1,1]
[596,1,1]
[597,1,1]
[598,1,1]
[599,1,1]
[600,1,1]
[601,1,1]
[602,1,1]
[603,1,1]
[604,1,1]
[605,1,1]
[606,1,1]
[607,1,1]
[608,1,1]
[609,1,1]
[610,1,1]
[611,1,1]
[612,1,1]
[613,1,1]
[614,1,1]
[615,1,1]
[616,1,1]
[617,1,1]
[618,1,1]
[619,1,1]
[620,1,1]
[621,1,1]
[622,1,1]
[623,1,1]
[624,1,1]
[625,1,1]
[626,1,1]
[627,1,1]
[628,1,1]
[629,1,1]
[630,1,1]
[631,1,1]
[632,1,1]
[633,1,1]
[634,1,1]
[635,1,1]
[636,1,1]
[637,1,1]
[638,1,1]
[639,1,1]
[640,1,1]
[641,1,1]
[642,1,1]
[643,1,1]
[644,1,1]
[645,1,1]
[646,1,1]
[647,1,1]
[648,1,1]
[649,1,1]
[650,1,1]
[651,1,1]
[652,1,1]
[653,1,1]
[654,1,1]
[655,1,1]
[656,1,1]
[657,1,1]
[658,1,1]
[659,1,1]
[660,1,1]
[661,1,1]
[662,1,1]
[663,1,1]
[664,1,1]
[665,1,1]
[666,1,1]
[667,1,1]
[668,1,1]
[669,1,1]
[670,1,1]
[671,1,1]
[672,1,1]

{"sheet":"Process","index":8,"n_rows":5,"n_cols":14,"rows_kept":5,"cut":false,"hidden":false,"merged":[]}
["Process","Num","class","cost-inv","cost-fix","cost-var","cap-installed","cap-new-min","cap-new-max","partload-min","start-up-energy","initial-power","depreciation","wacc"]
["chp",1,"CHP",700,0,0.01,0,0,1000000,0,0,0,10,0.05]
["wind_1",1,"WIND",1000,0,5.0000000000000001E-3,0,0,1000000,0,0,0,10,0.05]
["wind_2",1,"WIND",1000,0,5.0000000000000001E-3,0,0,1000000,0,0,0,10,0.05]
["boiler",1,null,100,0,1E-3,0,0,1000000,0,0,0,10,0.05]

{"sheet":"Process-Commodity","index":9,"n_rows":10,"n_cols":5,"rows_kept":10,"cut":false,"hidden":false,"merged":[]}
["Process","Commodity","Direction","ratio","ratio-partload"]
["chp","gas","In",2.5]
["chp","elec","Out",1]
["chp","heat","Out",1.25]
["wind_1","wind1","In",1]
["wind_1","elec","Out",1]
["wind_2","wind2","In",1]
["wind_2","elec","Out",1]
["boiler","gas","In",1.1000000000000001]
["boiler","heat","Out",1]

{"sheet":"Process-Class","index":10,"n_rows":3,"n_cols":6,"rows_kept":3,"cut":false,"hidden":false,"merged":[]}
["Class","Commodity","Direction","fee","cap-max","energy-max"]
["CHP","elec","Out",0.02,"inf","inf"]
["WIND","elec","Out",-0.05,20000,"inf"]

{"sheet":"Storage","index":11,"n_rows":3,"n_cols":24,"rows_kept":3,"cut":false,"hidden":false,"merged":[]}
["Storage","Commodity","Num","cost-inv-p","cost-inv-e","cost-fix-p","cost-fix-e","cost-var","cap-installed-p","cap-new-min-p","cap-new-max-p","cap-installed-e","cap-new-min-e","cap-new-max-e","max-p-e-ratio","eff-in","eff-out","self-discharge","cycles-max","lifetime","DOD","initial-soc","depreciation","wacc"]
["battery","elec",1,0,1000,0,0,0,0,0,1000000,0,0,100000,2,0.9,0.9,1E-3,10000,10,1,0,10,0.05]
["heat storage","heat",1,0,10,0,0,0,0,0,1000000,0,0,30000,1,0.95,0.95,1E-3,1000000,10,1,0,10,0.05]

{"sheet":"Demand","index":12,"n_rows":673,"n_cols":3,"rows_kept":673,"cut":false,"hidden":false,"merged":[]}
["Time","elec","heat"]
[1,28749.52,8856]
[2,29383.655999999999,8676]
[3,29496.088,9104]
[4,29592.544000000002,8892]
[5,30346.416000000001,8764]
[6,31300.912,8560]
[7,31325.392,8900]
[8,31261.056,9244]
[9,31133.008000000002,8092]
[10,31445.583999999999,8372]
[11,30491.040000000001,9144]
[12,29206.455999999998,7588]
[13,29471.511999999999,8640]
[14,29213.856,8376]
[15,29543.200000000001,7872]
[16,29848.28,7624]
[17,29703.367999999999,8088]
[18,30144.903999999999,8236]
[19,30353.263999999999,8832]
[20,30810.44,8412]
[21,30866.776000000002,8076]
[22,31652.887999999999,7724]
[23,31508.624,8708]
[24,31636.792000000001,8068]
[25,31837.416000000001,8820]
[26,33633.904000000002,8428]
[27,34428.351999999999,9204]
[28,35880.527999999998,8796]
[29,36305.224000000002,9248]
[30,37100.152000000002,8532]
[31,37613.256000000001,9056]
[32,36715.048000000003,8776]
[33,37308.271999999997,8792]
[34,37861.688000000002,8608]
[35,37822.144,8824]
[36,38584.303999999996,8632]
[37,38921.336000000003,8004]
[38,38328.303999999996,7416]
[39,38576.400000000001,7224]
[40,39820.264000000003,7056]
[41,39628,3064]
[42,38985.792000000001,3040]
[43,38063.248,3120]
[44,39097.936000000002,2960]
[45,38937.648000000001,2436]
[46,37750.455999999998,2088]
[47,37910.6,2012]
[48,38247.56,1968]
[49,37534.408000000003,1984]
[50,38223.103999999999,2092]
[51,38295.368000000002,2252]
[52,38183.32,2152]
[53,38600.28,2428]
[54,38640.735999999997,2196]
[55,39169.936000000002,2176]
[56,39804,2048]
[57,39820.432000000001,2028]
[58,38897.576000000001,2104]
[59,38128.256000000001,1996]
[60,38496.04,2428]
[61,39162.224000000002,1888]
[62,38945.911999999997,2080]
[63,38761.624000000003,2144]
[64,37044.631999999998,1908]
[65,37308.800000000003,2168]
[66,37004.008000000002,1932]
[67,38287.440000000002,2084]
[68,39049.839999999997,1928]
[69,38689.552000000003,1848]
[70,37084.512000000002,2008]
[71,35800.983999999997,1772]
[72,35944.887999999999,2268]
[73,36097.56,2040]
[74,35800.432000000001,1784]
[75,36129.487999999998,3016]
[76,35431.447999999997,1940]
[77,35655.928,2056]
[78,35383.112000000001,2432]
[79,35334.68,2068]
[80,36233.631999999998,2196]
[81,36337.896000000001,2016]
[82,36089.512000000002,2092]
[83,36378.519999999997,2572]
[84,36530.328000000001,2016]
[85,36931.336000000003,2020]
[86,37750.239999999998,2532]
[87,37830.648000000001,1916]
[88,36547.072,2352]
[89,35511.879999999997,2260]
[90,35519.472000000002,1640]
[91,35151.184000000001,2324]
[92,33851.608,1856]
[93,33498.311999999998,2240]
[94,33105.256000000001,2000]
[95,33458.264000000003,1516]
[96,33169.663999999997,2472]
[97,33081.591999999997,1636]
[98,33209.904000000002,1492]
[99,32816.703999999998,2940]
[100,32912.824000000001,1624]
[101,32776.584000000003,1832]
[102,33081.712,1356]
[103,32408.128000000001,1888]
[104,32704.752,2004]
[105,32167.24,1696]
[106,32191.312000000002,1944]
[107,32150.903999999999,2308]
[108,32167.432000000001,2216]
[109,31830.16,3348]
[110,31934.400000000001,1748]
[111,31758.04,2308]
[112,31541.151999999998,3384]
[113,32318.736000000001,2132]
[114,32479.743999999999,4724]
[115,32471.48,2288]
[116,33939.968000000001,2252]
[117,33924.184000000001,4276]
[118,34100.04,3420]
[119,34645.624000000003,3972]
[120,35006.392,2964]
[121,35159.160000000003,4076]
[122,35487.040000000001,5192]
[123,36089.464,4484]
[124,35904.239999999998,5176]
[125,35992.959999999999,3712]
[126,37387.983999999997,5652]
[127,38623.728000000003,3500]
[128,38110.887999999999,5528]
[129,37557.328000000001,3288]
[130,37516.656000000003,4820]
[131,37557.112000000001,3800]
[132,38848.063999999998,4716]
[133,39836.144,3264]
[134,38689.192000000003,4732]
[135,39033.432000000001,3128]
[136,39410.872000000003,4732]
[137,39579.616000000002,2200]
[138,40044.959999999999,4876]
[139,38617.216,2264]
[140,39218.392,3408]
[141,39034.559999999998,2132]
[142,37990.959999999999,3008]
[143,38375.847999999998,2200]
[144,37854.648000000001,3020]
[145,37967.440000000002,2096]
[146,37582.072,2116]
[147,38143.175999999999,2116]
[148,37798.624000000003,2048]
[149,38768.400000000001,2760]
[150,38977.96,1976]
[151,38785.624000000003,2584]
[152,39105.743999999999,2060]
[153,38617.144,2424]
[154,37196.584000000003,1956]
[155,37301.495999999999,2052]
[156,37244.656000000003,2176]
[157,37678.048000000003,2116]
[158,38648.856,2624]
[159,38689.311999999998,2052]
[160,37582.023999999998,2504]
[161,37204.896000000001,1876]
[162,37365.472000000002,2004]
[163,37100.32,2596]
[164,37276.703999999998,2044]
[165,36234.639999999999,1988]
[166,35584.6,1932]
[167,35423.760000000002,2040]
[168,35945.512000000002,1668]
[169,35864.576000000001,2364]
[170,36394.135999999999,2020]
[171,36884.055999999997,2292]
[172,36418.567999999999,2276]
[173,37092.631999999998,2444]
[174,36932.392,4572]
[175,37397.232000000004,2788]
[176,37028.512000000002,2716]
[177,36908.224000000002,4272]
[178,35857.055999999997,3172]
[179,35872.911999999997,3148]
[180,36186.112000000001,6072]
[181,35520.144,3632]
[182,34789.671999999999,4768]
[183,35479.495999999999,5408]
[184,36177.631999999998,3944]
[185,36378.495999999999,6400]
[186,35624.455999999998,3596]
[187,35190.872000000003,4328]
[188,34863.303999999996,6140]
[189,34244.447999999997,5288]
[190,34189.264000000003,6548]
[191,33779.968000000001,5496]
[192,33811.896000000001,6108]
[193,32985.616000000002,6844]
[194,32841.135999999999,6308]
[195,32824.824000000001,5828]
[196,31903,6356]
[197,31870.28,6816]
[198,32086.975999999999,7200]
[199,32335.864000000001,5536]
[200,32014.639999999999,6916]
[201,31461.175999999999,6796]
[202,30313.912,6820]
[203,30257.360000000001,7168]
[204,30377.72,6264]
[205,31372.383999999998,6380]
[206,31765.752,5868]
[207,32407.432000000001,6132]
[208,32985.567999999999,6360]
[209,33571.127999999997,5800]
[210,33370.6,6956]
[211,34116.735999999997,6148]
[212,34317.288,6116]
[213,34333.095999999998,6480]
[214,35336.048000000003,6184]
[215,35648.839999999997,6628]
[216,36234.688000000002,6248]
[217,36106.328000000001,6704]
[218,36489.872000000003,6700]
[219,37340.800000000003,6972]
[220,37501.256000000001,7500]
[221,37404.847999999998,6992]
[222,38255.224000000002,7608]
[223,39153.767999999996,6984]
[224,38111.464,7288]
[225,38471.631999999998,6240]
[226,38527.392,7188]
[227,39072.904000000002,6496]
[228,39555.495999999999,7084]
[229,38552.088000000003,6208]
[230,37317.472000000002,6884]
[231,37645.64,6060]
[232,37862.264000000003,6052]
[233,37533.688000000002,6380]
[234,37693.688000000002,4636]
[235,37741.712,5604]
[236,37894.432000000001,2960]
[237,37717.735999999997,2964]
[238,38222.983999999997,2160]
[239,37148.775999999998,1900]
[240,37564.991999999998,2084]
[241,37870.311999999998,1824]
[242,38247.584000000003,1936]
[243,37429.591999999997,1724]
[244,37605.591999999997,1896]
[245,37766.216,1892]
[246,36803.048000000003,1812]
[247,36643.095999999998,1936]
[248,37428.584000000003,1684]
[249,38295.847999999998,1772]
[250,36763.864000000001,1648]
[251,35961.440000000002,1612]
[252,36706.951999999997,1604]
[253,37092.343999999997,1772]
[254,37726,1636]
[255,38609,1740]
[256,38849.96,1496]
[257,38104.088000000003,1524]
[258,37245.688000000002,1660]
[259,36683.288,1588]
[260,37068.608,1708]
[261,37197.616000000002,1608]
[262,34830.872000000003,1716]
[263,33963.224000000002,1916]
[264,34829.696000000004,1648]
[265,34332.400000000001,1788]
[266,34901.839999999997,2868]
[267,35070.487999999998,1704]
[268,35840.383999999998,1840]
[269,35945.536,2948]
[270,35768.624000000003,4716]
[271,35335.4,6000]
[272,36233.847999999998,4168]
[273,36129.631999999998,4904]
[274,35985.248,7440]
[275,36378.303999999996,7256]
[276,36490.951999999997,6716]
[277,36274.207999999999,7536]
[278,35841.199999999997,7228]
[279,35632.167999999998,7312]
[280,35985.224000000002,7760]
[281,36996.127999999997,7372]
[282,36475.095999999998,7808]
[283,36034.088000000003,8172]
[284,34975.423999999999,8200]
[285,34702.847999999998,8348]
[286,34946.663999999997,9380]
[287,33318.080000000002,8156]
[288,32708.16,8268]
[289,32884.495999999999,9068]
[290,33245.552000000003,8160]
[291,33045.264000000003,8456]
[292,32547.776000000002,9372]
[293,32451.08,9212]
[294,31990.736000000001,9916]
[295,32119.407999999999,8768]
[296,32039.024000000001,9404]
[297,30715.592000000001,10600]
[298,30506.464,10372]
[299,30787.135999999999,11144]
[300,31147.928,11044]
[301,31324.864000000001,10960]
[302,31027.975999999999,11476]
[303,31436.455999999998,11504]
[304,31990.351999999999,12184]
[305,31974.207999999999,11192]
[306,32158.592000000001,11624]
[307,32182.856,12108]
[308,32880.464,10892]
[309,33490.480000000003,12288]
[310,34661.504000000001,11708]
[311,34637.96,11960]
[312,34477.288,12520]
[313,34493.095999999998,12020]
[314,35912.216,12808]
[315,37244.536,13068]
[316,37789.832000000002,13524]
[317,37982.648000000001,12844]
[318,36955.24,13108]
[319,37886.311999999998,12592]
[320,38343.343999999997,13128]
[321,38872.879999999997,12264]
[322,38399.991999999998,11860]
[323,38319.656000000003,10832]
[324,38415.656000000003,11476]
[325,37894.671999999999,9924]
[326,36779.504000000001,10056]
[327,37140.008000000002,9240]
[328,37813.784,7616]
[329,38231.68,7732]
[330,37525.088000000003,6808]
[331,36899.504000000001,2868]
[332,37027.743999999999,2376]
[333,37356.080000000002,1856]
[334,38512.328000000001,2128]
[335,37814.264000000003,1872]
[336,37437.472000000002,1916]
[337,36947.792000000001,1652]
[338,37934.383999999998,1708]
[339,37654.36,1692]
[340,37572.728000000003,1596]
[341,38150.936000000002,1552]
[342,37814.408000000003,1276]
[343,36787.048000000003,1464]
[344,37380.824000000001,1632]
[345,37862.192000000003,1332]
[346,37076.872000000003,1652]
[347,37092.152000000002,1388]
[348,37862.983999999997,1596]
[349,38231.68,1512]
[350,38464.76,1264]
[351,38338.44,1636]
[352,37794.127999999997,1424]
[353,37649.96,1648]
[354,37112.04,1444]
[355,36975.847999999998,1600]
[356,35218.76,1392]
[357,34584.383999999998,1548]
[358,34616.720000000001,1592]
[359,34656.864000000001,1408]
[360,35530.807999999997,1476]
[361,34967.735999999997,1548]
[362,34749.24,1316]
[363,34982.127999999997,1392]
[364,35463.616000000002,1568]
[365,35375.232000000004,1544]
[366,35006.343999999997,1460]
[367,35222.968000000001,1648]
[368,36218.472000000002,1756]
[369,35627.792000000001,2012]
[370,34849.271999999997,1816]
[371,35506.856,2228]
[372,35531.24,3588]
[373,35595.072,5076]
[374,35507.023999999998,5504]
[375,35459.311999999998,6156]
[376,35402.735999999997,6664]
[377,35555.383999999998,6452]
[378,35122.447999999997,6528]
[379,33935.232000000004,7224]
[380,33822.752,7400]
[381,33646.296000000002,7380]
[382,34616.648000000001,8644]
[383,33679.040000000001,7240]
[384,32924.784,7716]
[385,32138.48,7968]
[386,31897.808000000001,7828]
[387,31913.64,8256]
[388,32162.432000000001,8300]
[389,31705.088,7972]
[390,31985.495999999999,9064]
[391,31657.256000000001,8604]
[392,30742.135999999999,8672]
[393,31672.560000000001,9388]
[394,31608.655999999999,8564]
[395,31336.031999999999,8720]
[396,31873.351999999999,9668]
[397,31921.64,9580]
[398,31720.871999999999,10292]
[399,31440.272000000001,10184]
[400,31632.871999999999,10364]
[401,31287.887999999999,10832]
[402,31488.392,11088]
[403,32089.448,11384]
[404,33140.735999999997,11504]
[405,33894.92,11220]
[406,34184.023999999998,12720]
[407,33887.160000000003,12064]
[408,34833.248,12148]
[409,35162.495999999999,13232]
[410,36614.120000000003,12448]
[411,37432.735999999997,13576]
[412,38508,12884]
[413,38925.103999999999,13920]
[414,39695.455999999998,12764]
[415,40264.775999999998,13336]
[416,39190.544000000002,13372]
[417,38082.728000000003,13044]
[418,37809.480000000003,12084]
[419,37024.04,12992]
[420,35699.96,11728]
[421,33477.24,11720]
[422,32161.495999999999,10532]
[423,31118.472000000002,10112]
[424,30880.495999999999,9928]
[425,30783.759999999998,8392]
[426,30943.856,7908]
[427,30423.423999999999,4072]
[428,30927.88,1888]
[429,30991.928,2072]
[430,30543.472000000002,1668]
[431,30495.495999999999,1604]
[432,31335.544000000002,1312]
[433,32504.959999999999,1492]
[434,33684.944000000003,1464]
[435,35074.031999999999,1476]
[436,35130.031999999999,1592]
[437,34929.336000000003,1380]
[438,35877.32,1460]
[439,35804.671999999999,1424]
[440,36350.712,1296]
[441,36889.447999999997,1500]
[442,36672.224000000002,1304]
[443,35965.968000000001,1432]
[444,36046.832000000002,1492]
[445,36576.896000000001,1356]
[446,36640.752,1468]
[447,36239.455999999998,1288]
[448,35902.303999999996,1324]
[449,35387.663999999997,1492]
[450,35227.904000000002,1236]
[451,34673.264000000003,1084]
[452,33604.68,1240]
[453,32673.248,1112]
[454,32761.583999999999,1036]
[455,33034.76,1188]
[456,32287.544000000002,1096]
[457,32568.552,1128]
[458,32769.584000000003,1188]
[459,32697.32,1124]
[460,33556.608,1256]
[461,33637.375999999997,1484]
[462,33613.088000000003,1264]
[463,33556.608,1328]
[464,33637.135999999999,1656]
[465,33348.080000000002,1572]
[466,32713.248,1460]
[467,32071.184000000001,1472]
[468,31444.207999999999,1512]
[469,31219.175999999999,1288]
[470,31636.975999999999,1540]
[471,31829.768,1676]
[472,31942.367999999999,1632]
[473,31179.200000000001,1652]
[474,30384.223999999998,1840]
[475,29845.392,2068]
[476,29203.616000000002,2252]
[477,27629.759999999998,2088]
[478,26554.232,1948]
[479,25831.784,1176]
[480,26353.8,2368]
[481,25904.648000000001,2168]
[482,25350.128000000001,1320]
[483,25293.864000000001,3608]
[484,25301.912,2800]
[485,24748.400000000001,2268]
[486,24860.423999999999,5424]
[487,25784.552,3444]
[488,25198.103999999999,4676]
[489,25254.824000000001,5568]
[490,24772.784,5072]
[491,24644.256000000001,5016]
[492,24676.712,6432]
[493,24170.263999999999,3996]
[494,23487.599999999999,6288]
[495,23591.792000000001,6916]
[496,23495.072,6296]
[497,22475.16,6588]
[498,22796.84,7404]
[499,22764.792000000001,6036]
[500,22965.8,6708]
[501,22845.103999999999,7184]
[502,23222.400000000001,7152]
[503,22989.8,7252]
[504,22291.4,8052]
[505,22258.92,7704]
[506,22146.871999999999,7736]
[507,23014.016,7520]
[508,22933.968000000001,8380]
[509,22508.335999999999,8584]
[510,22869.871999999999,8012]
[511,22909.919999999998,8040]
[512,22701.32,7760]
[513,22692.912,7984]
[514,22821.655999999999,6988]
[515,22701.32,6768]
[516,23705.4,5256]
[517,22966.567999999999,3116]
[518,23713.616000000002,1216]
[519,23416.511999999999,1416]
[520,23833.952000000001,1332]
[521,23303.864000000001,1392]
[522,23488.752,1356]
[523,23231.407999999999,1240]
[524,23376.344000000001,744]
[525,23103.216,944]
[526,22026.968000000001,1092]
[527,21833.96,1080]
[528,20910.12,1104]
[529,20388.295999999998,1024]
[530,20484.583999999999,1160]
[531,20741.400000000001,1008]
[532,20942.552,1148]
[533,21223.392,816]
[534,21304.304,1012]
[535,21111.32,1108]
[536,21392.351999999999,1460]
[537,20870.335999999999,1936]
[538,20243.72,1860]
[539,20596.68,1832]
[540,19858.448,1596]
[541,19448.407999999999,1516]
[542,19320.335999999999,1344]
[543,19184.216,1220]
[544,19449.031999999999,1228]
[545,20404.488000000001,1268]
[546,21111.704000000002,1284]
[547,21593.504000000001,1228]
[548,21465,1280]
[549,20966.984,1380]
[550,19834.784,1400]
[551,19392.768,1244]
[552,18581.648000000001,1264]
[553,18822.488000000001,1108]
[554,19248.263999999999,1080]
[555,18364.687999999998,1352]
[556,18164.112000000001,1260]
[557,18220.112000000001,1420]
[558,17979.583999999999,1380]
[559,17971.080000000002,1376]
[560,17810.792000000001,1268]
[561,18027.392,944]
[562,17922.864000000001,1268]
[563,16605.968000000001,1176]
[564,17376.2,1440]
[565,17199.648000000001,1288]
[566,17087.383999999998,1400]
[567,16701.848000000002,1272]
[568,17415.864000000001,1148]
[569,17953.975999999999,924]
[570,17488.344000000001,1040]
[571,16869.608,996]
[572,16508.648000000001,1020]
[573,15994.632,1056]
[574,16122.752,1096]
[575,15424.904,1064]
[576,15127.608,992]
[577,15039.343999999999,1216]
[578,14701.856,1096]
[579,14886.6,1196]
[580,14702.048000000001,1068]
[581,14798.407999999999,1152]
[582,14645.712,1108]
[583,14798.6,1304]
[584,14990.912,1440]
[585,14959.056,1344]
[586,14701.856,1436]
[587,14814.744000000001,1476]
[588,14918.864,1384]
[589,14460.608,1384]
[590,14669.832,1336]
[591,14919.056,2760]
[592,14774.36,2976]
[593,14549.255999999999,4680]
[594,14268.296,5192]
[595,14991.103999999999,5452]
[596,14211.84,5548]
[597,14990.888000000001,2980]
[598,14525.064,3024]
[599,14509.16,5856]
[600,14316.128000000001,6216]
[601,14043.072,5748]
[602,13906.376,5852]
[603,13689.8,5772]
[604,13512.984,5948]
[605,13737.608,6164]
[606,14075.335999999999,6196]
[607,14090.904,5812]
[608,14316.32,5768]
[609,14509.16,5456]
[610,14355.888000000001,5244]
[611,14075.384,3392]
[612,14572.92,1592]
[613,15375.464,1584]
[614,14845.664000000001,1584]
[615,14644.415999999999,1448]
[616,14869.52,1440]
[617,15182.48,1492]
[618,15054,1204]
[619,15062.24,1088]
[620,15255.008,984]
[621,15270.984,1164]
[622,14893.472,1156]
[623,14628.487999999999,1284]
[624,14692.68,1228]
[625,14700.487999999999,1180]
[626,14066.16,1200]
[627,13929.656000000001,1244]
[628,14097.944,1180]
[629,13656.384,1272]
[630,13423.616,1240]
[631,13183.16,1056]
[632,12789.023999999999,1148]
[633,12749.191999999999,1272]
[634,12676.904,1232]
[635,12933.744000000001,1192]
[636,12170.672,1324]
[637,12219.128000000001,1172]
[638,12355.584000000001,1248]
[639,12098.407999999999,1232]
[640,12090.6,1172]
[641,12146.624,1180]
[642,12243.368,1120]
[643,11560.487999999999,1108]
[644,11449.76,1036]
[645,11661.912,1116]
[646,11637.888000000001,1080]
[647,11420.88,1112]
[648,11136.415999999999,1264]
[649,11762.312,1016]
[650,12115.56,1088]
[651,12027.296,1188]
[652,12099.608,1640]
[653,12212.04,1528]
[654,12099.368,1152]
[655,12051.343999999999,1268]
[656,12067.512000000001,1112]
[657,12027.343999999999,1156]
[658,13159.328,1116]
[659,13247.544,1192]
[660,13328.288,1048]
[661,14597.328,1100]
[662,17424.871999999999,1160]
[663,18051.608,1060]
[664,19874.567999999999,1172]
[665,21038.671999999999,1224]
[666,22941.968000000001,1292]
[667,24090.527999999998,1352]
[668,24244.088,1664]
[669,25231.328000000001,1616]
[670,27608.063999999998,2100]
[671,29230.304,1404]
[672,29760.464,1452]

{"sheet":"SupIm","index":13,"n_rows":673,"n_cols":3,"rows_kept":673,"cut":false,"hidden":false,"merged":[]}
["Time","wind1","wind2"]
[1,0.91474411704323633,1]
[2,1,1]
[3,1,1]
[4,1,1]
[5,1,1]
[6,0.88126945495605458,1]
[7,0.70836292613636365,1]
[8,0.48284114490855823,0.43708419799804688]
[9,0.25341380726207363,0]
[10,7.8641241247003654E-2,0]
[11,0,0]
[12,0,0]
[13,0,0]
[14,0,0]
[15,0,0]
[16,0,0]
[17,0,0]
[18,0,0]
[19,0,0]
[20,0,0]
[21,0,0]
[22,0,0]
[23,0,0]
[24,0,0]
[25,0,0]
[26,2.1096142855554297E-3,0]
[27,9.9713672291149122E-2,0]
[28,0.16592433235861997,0]
[29,0.21679683165116728,0]
[30,0.2599724422801627,0]
[31,0.29412932829423361,0]
[32,0.3146899830211291,0]
[33,0.32907373254949362,0]
[34,0.32796742699362996,0]
[35,0.30663876100019999,0]
[36,0.27550580284812276,0]
[37,0.24960166757756996,0]
[38,0.22724723815918002,0]
[39,0.20582493868741089,0]
[40,0.22320660677823187,0]
[41,0.26037289879538822,0]
[42,0.30582423643632362,0]
[43,0.34993141347711726,0]
[44,0.37193879214200093,3.0442237854003313E-2]
[45,0.38156838850541547,6.5750757853190109E-2]
[46,0.3535388166254218,0]
[47,0.31698916175148728,0]
[48,0.26973017779263542,0]
[49,0.22797151045365727,0]
[50,0.1979382254860618,0]
[51,0.18258190155029272,0]
[52,0.18323599208484997,0]
[53,0.18606762452558998,0]
[54,0.18154031580144725,0]
[55,0.17729174007068996,0]
[56,0.1872194897044791,0]
[57,0.21781674298373185,0]
[58,0.24531256068836543,0]
[59,0.25989840247414359,0]
[60,0.27541438016024544,0]
[61,0.28300766511396913,0]
[62,0.29862750660289455,0]
[63,0.3226686824451791,0]
[64,0.31483814933083276,0]
[65,0.2876281738281255,0]
[66,0.26055010882290913,0]
[67,0.24447497454556544,0]
[68,0.24931816621260186,0]
[69,0.27605043758045544,0]
[70,0.32061724229292454,0]
[71,0.36714935302734358,1.2880961100259825E-2]
[72,0.41337975588711823,0.18239243825276694]
[73,0.460863460193981,0.35649935404459693]
[74,0.49653963609175267,0.48731199900309302]
[75,0.51041923869739914,0.53820387522379676]
[76,0.49836531552401458,0.49400615692138672]
[77,0.47318952733820185,0.40169493357340674]
[78,0.42355225302956367,0.21969159444173356]
[79,0.35876746611161631,0]
[80,0.29157088019631094,0]
[81,0.23610578883777997,0]
[82,0.19862326708706909,0]
[83,0.17699991572986909,0]
[84,0.17401669242165274,0]
[85,0.17897168072787181,0]
[86,0.18664984269575638,0]
[87,0.20407524975863361,0]
[88,0.25662387501109729,0]
[89,0.32035294446078183,0]
[90,0.37641065770929544,4.6839078267416547E-2]
[91,0.4273904453624382,0.23376496632893998]
[92,0.48226295817982084,0.43496417999267639]
[93,0.54203440926291724,0.65412616729736328]
[94,0.61000139063054537,0.90333843231199984]
[95,0.6830845746127,1]
[96,0.74788553064520003,1]
[97,0.80046003515070008,1]
[98,0.8380230990323182,1]
[99,0.83902298320423629,1]
[100,0.74188605221835457,1]
[101,0.53949772227894177,0.64482498168945313]
[102,0.38653373718261735,8.3957036336263613E-2]
[103,0.32530502839521913,0]
[104,0.33338746157559457,0]
[105,0.32488077337091636,0]
[106,0.33334632353349181,0]
[107,0.34843735261396913,0]
[108,0.36125768314708362,0]
[109,0.34313752434470451,0]
[110,0.35090966658158729,0]
[111,0.36969184875488265,2.2203445434569719E-2]
[112,0.40464834733442812,0.15037727355956973]
[113,0.47990209406072459,0.42630767822265686]
[114,0.53735013441606005,0.63695049285888672]
[115,0.61415915055708181,0.9185835520426332]
[116,0.68134472586891814,1]
[117,0.70846757021817275,1]
[118,0.70617554404519101,1]
[119,0.68486187674782739,1]
[120,0.66109362515536363,1]
[121,0.64018995111639088,1]
[122,0.62128136374733633,0.94469833374023315]
[123,0.6144018173217819,0.91947333017986688]
[124,0.62289125269110002,0.95060125986736688]
[125,0.61303806304931818,0.91447289784749997]
[126,0.5745849609375,0.77347819010416663]
[127,0.54650341380726364,0.67051251729330019]
[128,0.5246630581942473,0.59043121337890681]
[129,0.54622381383722718,0.66948731740316647]
[130,0.54600152102383637,0.66867224375406664]
[131,0.53310038826682371,0.62136809031168683]
[132,0.50581611286510086,0.52132574717203661]
[133,0.44628862901167454,0.3030583063761399]
[134,0.36637046120383537,1.0025024414063092E-2]
[135,0.31427452780983633,0]
[136,0.31419649991122184,0]
[137,0.33648300170898454,0]
[138,0.35021326758644822,0]
[139,0.32859126004305728,0]
[140,0.28519972887906186,0]
[141,0.24425831708041087,0]
[142,0.22084032405506457,0]
[143,0.24362993240356454,0]
[144,0.2969112396240236,0]
[145,0.34048037095503364,0]
[146,0.37497347051447089,4.1569391886393227E-2]
[147,0.38541082902388185,7.9839706420900214E-2]
[148,0.37292723222212359,3.4066518147786461E-2]
[149,0.35965997522527543,0]
[150,0.34175161881880367,0]
[151,0.33724104274403,0]
[152,0.35431146621704096,0]
[153,0.39667510986328092,0.12114206949869673]
[154,0.43973289836536722,0.27902062733967981]
[155,0.47097474878484552,0.39357407887776691]
[156,0.48536586761474643,0.44634151458740351]
[157,0.4769824634898791,0.4156023661295567]
[158,0.46701752055775003,0.37906424204508343]
[159,0.46188961375843363,0.36026191711425665]
[160,0.4643065712668682,0.36912409464518348]
[161,0.47389949451793356,0.40429814656575641]
[162,0.50134355371648631,0.50492636362711651]
[163,0.5514636473222182,0.68870004018146658]
[164,0.61492018266157267,0.92137400309243311]
[165,0.67391534285111809,1]
[166,0.71872780539772729,1]
[167,0.74431696805087277,1]
[168,0.76264381408691828,1]
[169,0.78150731867010004,1]
[170,0.79661620746959094,1]
[171,0.79131811315362732,1]
[172,0.76038811423561825,1]
[173,0.71932307156649078,1]
[174,0.66907059062610907,1]
[175,0.6161584854126001,0.92591444651286692]
[176,0.55975575880570905,0.71910444895426673]
[177,0.49667176333340729,0.48779646555582684]
[178,0.44499423287131551,0.29831218719482361]
[179,0.40918081456964633,0.16699632008870324]
[180,0.39571528001265094,0.11762269337972005]
[181,0.38962251489812727,9.528255462646662E-2]
[182,0.37846235795454547,5.4361979166666664E-2]
[183,0.35817393389615176,0]
[184,0.35914993286132818,0]
[185,0.34528103741732541,0]
[186,0.31463232907381911,0]
[187,0.28588225624778096,0]
[188,0.27721478722312276,0]
[189,0.29444794221357906,0]
[190,0.30051101337779634,0]
[191,0.29669046401977545,0]
[192,0.28278428857976723,0]
[193,0.25131104209206362,0]
[194,0.20903088829734093,0]
[195,0.16428531299937815,0]
[196,0.11843906749378542,0]
[197,8.2125056873668167E-2,0]
[198,5.5854667316783638E-2,0]
[199,3.9665092121470895E-2,0]
[200,3.2916112379594527E-2,0]
[201,3.2464200800115493E-2,0]
[202,4.7612537037242705E-2,0]
[203,6.8432764573530883E-2,0]
[204,8.2455851814963607E-2,0]
[205,9.4818245280872696E-2,0]
[206,0.10449405149980001,0]
[207,0.11459393934770089,0]
[208,0.12280754609541451,0]
[209,0.13615304773504092,0]
[210,0.14832219210537997,0]
[211,0.16100077195600998,0]
[212,0.18165375969626726,0]
[213,0.20018807324496182,0]
[214,0.19084020094438001,0]
[215,0.16901380365545091,0]
[216,0.14725234291770273,0]
[217,0.12612962722778362,0]
[218,0.10462587529962729,0]
[219,7.2746363553133631E-2,0]
[220,4.003650491887905E-2,0]
[221,2.5069756941361779E-2,0]
[222,1.8635186282070879E-2,0]
[223,7.707812569358213E-3,0]
[224,0,0]
[225,1.3950174505059965E-2,0]
[226,4.1653546420010894E-2,0]
[227,6.298862804066091E-2,0]
[228,7.5558532368052767E-2,0]
[229,8.5740349509499131E-2,0]
[230,9.8014007915150039E-2,0]
[231,0.12292991984974271,0]
[232,0.17419143156571823,0]
[233,0.24756093458695821,0]
[234,0.32545388828624361,0]
[235,0.39652234857732632,0.12058194478352983]
[236,0.45465547388250177,0.33373673756917316]
[237,0.50179134715687179,0.50656827290852979]
[238,0.51545576615767097,0.55667114257812678]
[239,0.51721113378351369,0.56310749053955023]
[240,0.52485370635986361,0.59113025665283325]
[241,0.51300438967618089,0.54768276214599665]
[242,0.49189480868252827,0.47028096516927026]
[243,0.47428469224409642,0.40571053822835346]
[244,0.48492726412686449,0.44473330179850318]
[245,0.50179403478449092,0.50657812754313325]
[246,0.51432132720947266,0.55251153310139978]
[247,0.52634603326970908,0.59660212198893348]
[248,0.53450870513916005,0.62653191884358661]
[249,0.53407044844193907,0.6249249776204433]
[250,0.50266352566805717,0.50976626078287646]
[251,0.45214002782648277,0.32451343536377014]
[252,0.41304406252774356,0.18116156260172644]
[253,0.39487370577725545,0.11453692118327001]
[254,0.39383680170232632,0.11073493957519649]
[255,0.41163236444646628,0.17598533630370974]
[256,0.44572370702570185,0.30098692576090674]
[257,0.44043835726651276,0.28160730997721356]
[258,0.40973671999844635,0.16903463999430338]
[259,0.35907038775357364,0]
[260,0.30464948307384182,0]
[261,0.29510992223566268,0]
[262,0.30707276951182999,0]
[263,0.32116933302445821,0]
[264,0.34028777209195271,0]
[265,0.3663436716253109,9.9267959594732478E-3]
[266,0.37802661548961275,5.2764256795246801E-2]
[267,0.37375424124977824,3.7098884582520121E-2]
[268,0.40620439702814276,0.15608278910319009]
[269,0.41907535899769177,0.20327631632486978]
[270,0.40200562910600174,0.14068730672200638]
[271,0.3812502080743963,6.4584096272786454E-2]
[272,0.39267054471102641,0.10645866394043028]
[273,0.43158288435502451,0.24913724263508996]
[274,0.47732179815118997,0.41684659322102985]
[275,0.54826068878173639,0.67695585886636656]
[276,0.62323344837535444,0.95185597737629968]
[277,0.67223219438032733,1]
[278,0.68494840101761811,1]
[279,0.68009757995605458,1]
[280,0.66708885539661822,1]
[281,0.64570227536288172,1]
[282,0.62051261555064552,0.94187959035236679]
[283,0.60390203649347274,0.88097413380939982]
[284,0.59083184328946359,0.8330500920613666]
[285,0.58951239152388191,0.82821210225423358]
[286,0.60316155173561825,0.87825902303060011]
[287,0.63869025490500908,1]
[288,0.69125981764360001,1]
[289,0.75193396481600916,1]
[290,0.79331068559126361,1]
[291,0.81188626722856361,1]
[292,0.81126273762096368,1]
[293,0.81602989543568183,1]
[294,0.83226091211492725,1]
[295,0.85131671211936366,1]
[296,0.86167543584650008,1]
[297,0.86394396695223641,1]
[298,0.88109441237016373,1]
[299,0.90197615189985458,1]
[300,0.92088430578058178,1]
[301,0.93247179551558179,1]
[302,0.92196351831610002,1]
[303,0.89233485135165447,1]
[304,0.85690151561389993,1]
[305,0.81923077323219995,1]
[306,0.79539342360062726,1]
[307,0.78872923417524554,1]
[308,0.79769134521484553,1]
[309,0.82635593414306363,1]
[310,0.83561463789506363,1]
[311,0.81869168715043628,1]
[312,0.80283962596546354,1]
[313,0.78405362909489995,1]
[314,0.7778680107810273,1]
[315,0.79305076599120916,1]
[316,0.83597278594970914,1]
[317,0.86800098419189098,1]
[318,0.87512215701016371,1]
[319,0.86792252280495452,1]
[320,0.87662393396550908,1]
[321,0.89024699818004549,1]
[322,0.89737103202126356,1]
[323,0.90931632302024556,1]
[324,0.93764625896107279,1]
[325,0.9528447931463091,1]
[326,0.94430056485262714,1]
[327,0.91656719554554544,1]
[328,0.89688457142222722,1]
[329,0.90066129511052739,1]
[330,0.91243449124422726,1]
[331,0.93542818589643639,1]
[332,0.96702436967329997,1]
[333,0.97774167494340003,1]
[334,0.98262483423406366,1]
[335,0.99142412705854543,1]
[336,0.99196434020996371,1]
[337,0.99508389559659094,1]
[338,1,1]
[339,1,1]
[340,1,1]
[341,1,1]
[342,1,1]
[343,1,1]
[344,1,1]
[345,1,1]
[346,1,1]
[347,1,1]
[348,0.99300245805219989,1]
[349,0.96758105538108186,1]
[350,0.93103859641335451,1]
[351,0.8919258984652455,1]
[352,0.8575265190818091,1]
[353,0.80716055089777283,1]
[354,0.75590489127419103,1]
[355,0.69896585291081825,1]
[356,0.64533597772771822,1]
[357,0.59978511116721822,0.86587874094646666]
[358,0.55996756120161817,0.71988105773926669]
[359,0.52515576102516914,0.5922377904256203]
[360,0.50043929706920276,0.50161075592041016]
[361,0.47793925892222994,0.41911061604817651]
[362,0.45724114504727448,0.34321753184000653]
[363,0.43931241468949733,0.27747885386149029]
[364,0.43566989898681641,0.26412296295166016]
[365,0.43249060890891367,0.25246556599935016]
[366,0.43671625310724449,0.26795959472656311]
[367,0.44441223144531267,0.29617818196614643]
[368,0.45005416870117188,0.31686528523763019]
[369,0.45984979109330643,0.3527825673421236]
[370,0.44651681726629083,0.30389499664306641]
[371,0.41948188434947636,0.20476690928141336]
[372,0.39577544819224997,0.11784331003824988]
[373,0.36466763236305916,3.7813186645501893E-3]
[374,0.32961160486394725,0]
[375,0.29599462855945907,0]
[376,0.27946268428455723,0]
[377,0.26895371350375091,0]
[378,0.26069528406316544,0]
[379,0.26242923736572271,0]
[380,0.28218169645829633,0]
[381,0.30843552676114183,0]
[382,0.3096274896101518,0]
[383,0.30220296166159905,0]
[384,0.28052949905395547,0]
[385,0.24258604916659277,0]
[386,0.20069629495794092,0]
[387,0.16270390423861458,0]
[388,0.14586036855524268,0]
[389,0.13402778452093,0]
[390,0.12750799005681818,0]
[391,0.13271622224287546,0]
[392,0.15331723473288819,0]
[393,0.18101232702081821,0]
[394,0.1921597394076264,0]
[395,0.18878884748979088,0]
[396,0.17102319544011912,0]
[397,0.13198679143732275,0]
[398,8.2521568645130911E-2,0]
[399,3.4415808590975434E-2,0]
[400,1.2819766998290934E-2,0]
[401,2.5216839530250921E-2,0]
[402,5.520707910711091E-2,0]
[403,9.279125387018361E-2,0]
[404,0.13490048321810635,0]
[405,0.17673561789772727,0]
[406,0.18900182030417725,0]
[407,0.18781514601274002,0]
[408,0.18511620434847728,0]
[409,0.1808752146634191,0]
[410,0.17262012308294092,0]
[411,0.15717402371493269,0]
[412,0.14005548303777546,0]
[413,0.12001605467362821,0]
[414,9.6916675567627272E-2,0]
[415,7.9547535289417284E-2,0]
[416,7.3484204032204528E-2,0]
[417,7.7981038527055457E-2,0]
[418,9.3264363028786393E-2,0]
[419,0.10948103124445184,0]
[420,0.1168260574340818,0]
[421,0.10859636826948726,0]
[422,8.9697751131924561E-2,0]
[423,7.6315533031117239E-2,0]
[424,6.296868757768094E-2,0]
[425,4.9263780767267236E-2,0]
[426,3.5348241979425439E-2,0]
[427,2.9568412087179995E-2,0]
[428,3.0462438409979097E-2,0]
[429,3.3070087432861814E-2,0]
[430,3.0592008070512735E-2,0]
[431,3.3326105637983598E-2,0]
[432,5.1209536465731856E-2,0]
[433,8.597083525224182E-2,0]
[434,0.12638646906072451,0]
[435,0.16565322875976546,0]
[436,0.19946393099698187,0]
[437,0.21437432549216548,0]
[438,0.22228778492320636,0]
[439,0.23052419315684911,0]
[440,0.23231640729037181,0]
[441,0.23126818917014366,0]
[442,0.23561824451793364,0]
[443,0.26307093013416638,0]
[444,0.30751917578957272,0]
[445,0.34460817683826817,0]
[446,0.36592734943736732,8.400281270346829E-3]
[447,0.36950813640247726,2.1529833475749882E-2]
[448,0.38260407881303266,6.9548288981119796E-2]
[449,0.40875322168523631,0.16542847951253314]
[450,0.42729351737282462,0.2334095637003569]
[451,0.43480994484641367,0.26096979777018348]
[452,0.44687375155362186,0.3052037556966134]
[453,0.47021900523792631,0.39080301920572974]
[454,0.46658585288307913,0.37748146057129023]
[455,0.46492671966552734,0.37139797210693359]
[456,0.47351473028009639,0.40288734436035334]
[457,0.46993749791925638,0.38977082570394]
[458,0.46804731542413902,0.38284015655517639]
[459,0.46061377091841282,0.35558382670084693]
[460,0.48406904393976369,0.44158649444580017]
[461,0.49441510980779457,0.47952206929524682]
[462,0.49204609610817635,0.47083568572997986]
[463,0.49730534987016173,0.49011961619059302]
[464,0.49314091422341089,0.47485001881917316]
[465,0.47590264407071187,0.41164302825927673]
[466,0.46818004954945008,0.38332684834798353]
[467,0.49082834070379083,0.46637058258056641]
[468,0.55339397083629083,0.6957778930663997]
[469,0.61627804149280907,0.92635281880696674]
[470,0.67151165008544556,1]
[471,0.71054051139138186,1]
[472,0.73264928297562726,1]
[473,0.75166658921675455,1]
[474,0.78092002868652732,1]
[475,0.81664146076549082,1]
[476,0.86643479087136366,1]
[477,0.92010506716641816,1]
[478,0.96013962138782738,1]
[479,0.99331404946067281,1]
[480,1,1]
[481,1,1]
[482,1,1]
[483,1,1]
[484,1,1]
[485,1,1]
[486,1,1]
[487,1,1]
[488,1,1]
[489,1,1]
[490,1,1]
[491,1,1]
[492,1,1]
[493,1,1]
[494,1,1]
[495,1,1]
[496,0.8971516002308273,1]
[497,0.68341151150790003,1]
[498,0.53402709960937544,0.62476603190104341]
[499,0.43016633120450093,0.24394321441650332]
[500,0.34127209403298092,0]
[501,0.23350637609308456,0]
[502,0.16891501166603815,0]
[503,0.17473324862393458,0]
[504,0.20881548794833088,0]
[505,0.24455612356012543,0]
[506,0.27494378523393093,0]
[507,0.31828594207763639,0]
[508,0.39504467357288725,0.11516380310058653]
[509,0.51450590653853001,0.55318832397460993]
[510,0.64931696111505455,1]
[511,0.77039467204700918,1]
[512,0.87706123698841809,1]
[513,0.98637511513449994,1]
[514,1,1]
[515,1,1]
[516,1,1]
[517,1,1]
[518,1,1]
[519,1,1]
[520,1,1]
[521,1,1]
[522,1,1]
[523,1,1]
[524,1,1]
[525,1,1]
[526,1,1]
[527,1,1]
[528,1,1]
[529,1,1]
[530,1,1]
[531,1,1]
[532,1,1]
[533,1,1]
[534,1,1]
[535,1,1]
[536,1,1]
[537,1,1]
[538,1,1]
[539,1,1]
[540,1,1]
[541,0.9740350029685273,1]
[542,0.95227284864945461,1]
[543,0.94851909984241811,1]
[544,0.95726151899858181,1]
[545,0.94711693850430911,1]
[546,0.91608116843483633,1]
[547,0.89517029848965457,1]
[548,0.90934692729602729,1]
[549,0.93205755407159996,1]
[550,0.9488944140347545,1]
[551,0.96634179895574546,1]
[552,1,1]
[553,1,1]
[554,1,1]
[555,1,1]
[556,1,1]
[557,1,1]
[558,1,1]
[559,0.9826765060424818,1]
[560,0.89651827378706372,1]
[561,0.81051999872380909,1]
[562,0.74465638940984558,1]
[563,0.69704142483798182,1]
[564,0.62550267306240914,0.96017646789550015]
[565,0.50532800501043174,0.51953601837158325]
[566,0.36711519414728372,1.2755711873373579E-2]
[567,0.26356276598843636,0]
[568,0.1856534264304418,0]
[569,0.16229820251464819,0]
[570,0.17671455036510089,0]
[571,0.23248078606345454,0]
[572,0.35444753820245906,0]
[573,0.54259126836603366,0.65616798400879028]
[574,0.71545401486483629,1]
[575,0.80030814084140001,1]
[576,0.79742284254594542,1]
[577,0.7904971729625363,1]
[578,0.78953838348389094,1]
[579,0.77076417749578185,1]
[580,0.70734812996604546,1]
[581,0.63065667585892726,0.97907447814939985]
[582,0.57219539989124546,0.76471646626790013]
[583,0.52658948031338815,0.59749476114908973]
[584,0.52232560244473547,0.58186054229736328]
[585,0.57072578776966365,0.75932788848876653]
[586,0.64223480224609086,1]
[587,0.72291365536776364,1]
[588,0.79924236644398183,1]
[589,0.85495315898548185,1]
[590,0.88240042599764545,1]
[591,0.88271453163840907,1]
[592,0.84946216236460903,1]
[593,0.81177269328724544,1]
[594,0.77359841086648184,1]
[595,0.73396509343927263,1]
[596,0.68314361572265447,1]
[597,0.64695861122824538,1]
[598,0.61924431540749092,0.93722915649413352]
[599,0.59563315998424538,0.85065491994223308]
[600,0.56393224542790898,0.73441823323566646]
[601,0.51195170662619816,0.54382292429606005]
[602,0.45176141912286916,0.32312520345052026]
[603,0.39582677321000548,0.11803150177002013]
[604,0.37310114773837005,3.4704208374023438E-2]
[605,0.3562075008045546,0]
[606,0.31564612822099181,0]
[607,0.25062040849165451,0]
[608,0.17739486694335904,0]
[609,0.12135050513527634,0]
[610,5.2569476040927252E-2,0]
[611,0,0]
[612,0,0]
[613,0,0]
[614,0,0]
[615,0,0]
[616,4.0121511979536581E-3,0]
[617,0,0]
[618,0,0]
[619,0,0]
[620,0,0]
[621,0,0]
[622,9.5767974853518054E-3,0]
[623,7.0464741099964576E-2,0]
[624,0.14383146979592087,0]
[625,0.20336710322986909,0]
[626,0.23498652198097905,0]
[627,0.24683167717673546,0]
[628,0.26860883019187276,0]
[629,0.27271253412420093,0]
[630,0.25048385966907816,0]
[631,0.21135291186245997,0]
[632,0.18485212326049821,0]
[633,0.15069996226917637,0]
[634,0.11303823644464633,0]
[635,8.5238846865567292E-2,0]
[636,8.4385958584871842E-2,0]
[637,0.10499659451571362,0]
[638,0.12414706837047271,0]
[639,0.12673807144164997,0]
[640,0.11367386037653184,0]
[641,9.1303001750599092E-2,0]
[642,7.4924122203480034E-2,0]
[643,6.5829450433904549E-2,0]
[644,5.3927985104647309E-2,0]
[645,3.5583149303089083E-2,0]
[646,4.2591398412530908E-2,0]
[647,5.758892406116816E-2,0]
[648,7.390403747558634E-2,0]
[649,0.1007120392539282,0]
[650,0.12854047255082549,0]
[651,0.14875294945456724,0]
[652,0.14705458554354547,0]
[653,0.12592996250499364,0]
[654,9.9948276172984574E-2,0]
[655,7.9053358598189086E-2,0]
[656,6.8432331085205481E-2,0]
[657,6.6848017952659072E-2,0]
[658,6.0594775459982729E-2,0]
[659,6.1915961178866379E-2,0]
[660,6.4306692643599075E-2,0]
[661,6.9028420881791785E-2,0]
[662,8.0450491471724561E-2,0]
[663,9.1503620147705481E-2,0]
[664,0.11798615889115727,0]
[665,0.13761871511286003,0]
[666,0.14939056743275003,0]
[667,0.16206013072620731,0]
[668,0.17014793916182092,0]
[669,0.15768783742731277,0]
[670,0.13860585472800546,0]
[671,0.1172612363641909,0]
[672,9.9143765189430924E-2,0]